## Slide 1: TEI-REX Program Closeout
Ballston Exchange Conference Center
Arlington, Virginia
January 21, 2026

## Slide 2: Agenda
Performer Overall Proposed Strategy
Phase 1 accomplishment(s) and challenges
Phase 2 accomplishment(s) and challenges
Challenges to address IARPA requirements (biomarker/biodosimetry model)
Future research GAPs to be addressed
Lessons Learned (programmatic, technical)

## Slide 3: Overall Proposed Strategy
Start of Program:
Detection of known and unknown adducts by tandem mass spectrometry of protein digests and open modification searching
Modified early in Phase 1:
Detection of quantitative protein features for biodosimetry classification of dose, dose rate, time after exposure
Notes: Make sure to say We never wanted mice. It was a backup plan.

## Slide 4: UW Sample Summary
Phase 1:
Samples: Human skin discs, Mouse pelt, Mouse Fur, MatTek cultured skin
IR types: X-ray, neutron, and proton (UW only)
FA1/2: 25 and 90 days (human) = 6 and 25 days (mouse)
Phase 2:
Samples: Human skin discs, Mouse pelt, MatTek cultured skin, Mouse skin discs
IR types: X-ray and neutron
FA1/2: 25 and 90 days (human) = 6 and 25 days (mouse)

## Slide 5
X-ray/Proton/Neutron Sample Generation
SARRP (Xray)
Cyclotron
(proton)
FLASH/conventional dose rates
Cyclotron
(fast neutron)

## Slide 6: Phase 1 TE Challenge Samples
Phase 1A Samples (list):
Samples: Mouse pelt (543), Mouse Fur (286), MatTek cultured skin (126)
Mouse strains (C57BL/6, BALB/c), Sex (M, F)
IR types: X-ray
Dose: 1, 2, 4 Gy
FA1/2: 1, 6, 14, 92, 120, 154 days
Phase 1B Samples (list):
Samples: Mouse pelt (472), MatTek cultured skin (90)
Mouse strains (C57BL/6, BALB/c), Sex (M, F)
IR types: X-ray
Dose: 1, 2, 4 Gy
FA1/2: 1, 6, 14, 90, 130, 150 days
Success after using unblinded 1A samples to train for Phase 1B Samples

## Slide 7: Automated Workstations Facilitate Processing

## Slide 8: Fine tuning model for pelt with 1B training samples
Train on 1A and apply model to 1B
Train on 1A and finetune model to 1B
Notes: Prediction of exposure to radiation
A model trained on 1a data generalizes reasonably well to the 1b data (0.82 AUC)
Further fine-tuning on the 1b training data gives slightly better results than training from scratch using the features selected from 1a (0.94 vs 0.90 AUC)

## Slide 9: 1a Training and 1b Testing After all MatTek Data Generated
Cross validation on combined 1A & 1B data
Train on 1A and test on 1B

## Slide 10: Phase 1 Accomplishments
The same small set of protein features can be applied to classify independent studies
Able to distinguish between time since exposure and age in the mouse model
Approaching required number of training samples for robust classifiers
Differences in biological response to FLASH and conventional proton exposure have been identified
Demonstrated sensitivity below 1 Gy (75 cGy) for neutron exposure
IR-response observed in human disc samples after 20 days
Demonstrated utility of targeted PRM assay

## Slide 11: Phase 1 Accomplishments
The same small set of protein features can be applied to classify independent studies
Able to distinguish between time since exposure and age in the mouse model
Approaching required number of training samples for robust classifiers
Differences in biological response to FLASH and conventional proton exposure have been identified
Demonstrated sensitivity below 1 Gy (75 cGy) for neutron exposure
IR-response observed in human disc samples after 20 days
Demonstrated utility of targeted PRM assay

## Slide 12: Low Dose Neutron Experiment
Phase 1 low dose neutron study resulted in very good discrimination of 0, 75, and 200 cGy
No misclassification of 0 Gy controls
Very few misclassifications of 75 and 200 Gy
Performance should improve further with additional training data

## Slide 13: Low Dose Neutron Repeat (No protein normalization)
June 2024
January 2024
Without protein normalization
With protein normalization

## Slide 14: X-ray markers translate to low dose neutron samples
Restricting to ~20 markers previously identified in X-ray pelt samples gave very good signal in a low dose neutron study
Independent cross-validation of neutron samples
Cross-validation restricted to 20 X-ray markers

## Slide 15
Normalization Paper

## Slide 16: Phase 1 Accomplishments
The same small set of protein features can be applied to classify independent studies
Able to distinguish between time since exposure and age in the mouse model
Approaching required number of training samples for robust classifiers
Differences in biological response to FLASH and conventional proton exposure have been identified
Demonstrated sensitivity below 1 Gy (75 cGy) for neutron exposure
IR-response observed in human disc samples after 20 days
Demonstrated utility of targeted PRM assay

## Slide 17: Non-Invasive Sampling of Human Skin

## Slide 18
Absorbed Dose Boundary
Blue line 0.25 Gy
Green line 1 Gy
Yellow line 4 Gy
Pink line 10 Gy
Red line 30 Gy
sagittal
axial
coronal
Instrument software automatically calculates dose boundaries
Multiple samples at different doses from same subject
Enabled by automated mapping of dose boundaries
Notes: Raystation was used to calculate these boundaries SBRT (Stereotactic Body Radiation Therapy) is a highly precise, high-dose form of radiation treatment that delivers focused beams to tumors in 1 to 5 sessions

## Slide 19
Human Recruitment and Sampling
TBI: 1.65 Gy

## Slide 20
Human Recruitment and Sampling
Notes: People’s body types were very different and the SBRT doses were considered unreliable

## Slide 21
TBI dosing (most samples between 200-400 cGy)
Performance improved by focusing on MatTek features
AUROC=0.73 is consistent with small number of training samples evaluated
Markers of IR-response detected in human skin discs
Many MatTek features are also associated with radiation in human

## Slide 22
Performance in human matches expectations given small sample size
Current analysis includes only n=34 TBI training samples at time > 20 days post exposure
Borrowing features from MatTek samples improves performance on smaller datasets

## Slide 23
No IR signal observed when sampling <20 days after dose
Examined both targeted dosing (with dosimeters) and TBI dosing
May be related to 25-day migration of dermal cells to surface for sampling
No signal <20 days after x-ray exposure
~25 day migration to surface

## Slide 24: Phase 1: Total Skin Discs (TBI Analysis)
Total:
17 patients
126 discs

## Slide 25: TBI Skin Disc Data Analysis
More sample-to-sample variability than pelt samples pre-normalization

## Slide 26: TBI Skin Disc Data Analysis
Plate 1 Only
Plate 1&2
Plate 1&2
Notes: We had different controls in our experiment.
Some were pools of the extract from patient skin disks and others were discs sampled from an unexposed “healthy” volunteer

## Slide 27: TBI Skin Disc Data Analysis
Separation by plate
Prior to normalization
Normalization alone seems to remove the plate batch effect
Clustering by Sample type as expected for controls

## Slide 28: TBI Skin Disc Data Analysis (>20 Days Post Exposure)
Human ortholog features by sequence comparisons to mouse features
Features found via previous MatTek analysis
84 samples from 17 patients

## Slide 29: TBI Skin Disc Data Analysis
Looking at >20 days from exposure
Using mouse ortholog target list + parameter optimization

## Slide 30: TBI Skin Disc – Using MatTek Features Don’t Add much
Features from Mouse Xray Experiments
Features from Mouse Xray & Human MatTek Experiments
Notes: MatTek features don’t add much when we figured out how to use the mouse skin pelt features.

## Slide 31
Performance in human matches expectations given small sample size
Current analysis includes only n=84 TBI training samples (17 individuals) at time >20 days post exposure

## Slide 32: TBI Skin Disc Data Analysis
Looking at <20 days from exposure
76 samples from 17 patients

## Slide 33: Skin Disc Dose Prediction (ElasticNet)
Notes: One of the downside here is that we can predict almost any dose … but we only have a few doses.
Our 0 dose samples will almost always be predicted a low dose and not 0.

## Slide 34: Skin Disks: XGBoost Classification
Notes: Performing a multigroup classification makes this look better but we still struggle with predicting 0.

## Slide 35: Downstream Normalization and Batch Correction for Large Studies (>96 samples)
Commonly observed batch effect occurring over time (~1 sample / hour). Corrected using directLFQ + ComBat.
Aaron Maurais
Precursor Intensity CVs of reference samples used to monitor computational steps
Biological differences maintained

## Slide 36
Dose Rate Separation in Mouse Model
Good separation of controls and irradiated samples
Dose rate (flash vs conventional proton radiation) is reasonably distinguished
Exposure Prediction
Dose Rate Prediction

## Slide 37: Phase 1 Challenges
Sample generation challenges:
      Even though we did well with dose rate separation, we stopped working on proton IR (Challenge limitation: no TE proton samples “for the test”; Logistic limitation: one mouse per exposure)
Human Skin Disc (TBI > >> SBRT) (Challenge limitation: TBI dose will be too high for Phase 2; Logistic limitation: ambiguous disc collection sites on patient
Data Analysis challenges:
More training samples required
More custom tools required for increased sensitivity

## Slide 38: Phase 2 Accomplishments
Larger set of protein features can be applied to classify independent studies
Able to distinguish between time since exposure and age in the mouse model
Demonstrated sensitivity below 75 cGy for neutron and X-ray exposure
IR-response observed in human disc samples after 20 days
Developed a fully targeted PRM assay

## Slide 39: Phase 2 TE Challenge Samples
Phase 2A Samples:
Samples: Mouse pelt (700), MatTek (244)
Mouse strains (C57BL/6), Sex (M)
IR types: X-ray
Doses: 10, 75, 100 cGy
Dose Rates: Low, High
FA1/2: 7, 21, 90, 150 days
Phase 2B Samples:
Samples: Mouse skin disc (1028), Mouse pelt (304), MatTek (288)
Mouse strains (C57BL/6, Collaborative Cross), Sex (M, F)
IR types: X-ray
Doses: 9, 23, 70 cGy
Dose Rates: Low, High
FA1/2: 7, 14, 21, 44, 58, 72, 90 days

## Slide 40: Immediate Technical Issues
How are we going to process the data?
Needed to solve the missing data problem with tools like DIA-NN
How are we going to analyse ~1500 samples in a couple of months.

## Slide 41: What our DIA workflow Does
Final output is a Skyline document that includes all results (and optional reports).
Workflow takes you from RAW files to Skyline to ProteomeXchange
Notes: Main takeaway: You start with raw files and get a Skyline document. That may be optionally pushed to PanoramaWeb & ProteomeXchange

## Slide 42: Challenge with Missing Data

## Slide 43: Challenge with Missing Data
Simulation: 50 proteins, 5 samples/condition, 4x fold change, 20% CV

## Slide 44: Imputation? Two options …
Do we make up low abundance quantities?
Do we use the background signal at the retention time and m/z values we know it exists?

## Slide 45: Peak Boundary Imputation Provides a Lower Boundary for the Signal
Not Detected By DIANN
Detected By DIANN

## Slide 46: Can recover a signal when search tools miss a peak

## Slide 47: Differentially Abundant Proteins
Without Peak Boundary Imputation
With Peak Boundary Imputation

## Slide 48: What are these extreme values?

## Slide 49: Orbitrap Astral MS: Quadupole-Orbitrap-mrTOF
Heil et al. Evaluating the Performance of the Astral Mass Analyzer for Quantitative Proteomics Using Data-Independent Acquisition, J. Proteome Res. 2023
Hsu et al. Evaluation of a Prototype Orbitrap Astral Zoom Mass Spectrometer for Quantitative Proteomics – Beyond Identification Lists, J. Proteome Res. 2025

## Slide 50: The Stellar MS: Quadupole-IRM-Radial Ejection Dual Pressure Linear Ion Trap
Remes et al. Hybrid Quadrupole Mass Filter – Radial Ejection Linear Ion Trap and Intelligent Data Acquisition Enable Highly Multiplex Targeted Proteomics J. Proteome Res 2024

## Slide 51: Targeted Assay Generation
~8 proteins (green) from simple correlation
8 proteins (red) from XGBoost, 3 overlap with correlation
An additional 81 proteins (blue) provide the remaining classification capability.
~1% of the proteins measured are useful in the classification.
Proteins span >7 logs dynamic range.

## Slide 52: Phase 2a Recap
Sample and data analysis​
Results​
Self-assessment

## Slide 53
Pelt Sample Summary
700 T&E pelt samples
236 controls
936 total samples
10 plates

## Slide 54
Pelt Plate 1

## Slide 55: Pelt Data Collection Summary
Plate 1: 942.1 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 2: 843.3 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 3: 908.5 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 4: 946.7 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 5: 931.8 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 6: 817.3 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 7: 773.0 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 8: 740.0 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 9: 817.0 GB (72 T&E samples, 8 XP2P, 8 ET, and 8 DIRP)
Plate 10: 576.6 GB (52 T&E samples, 6 XP2P, 8 ET, and 6 DIRP)
  >8.3 TB RAW Data 700 T&E samples, 78 XP2P, 80 ET, and 78 DIRP

## Slide 56: Targeted Analysis of the Untargeted Data
Radiation Features
  92 protein targets from Phase 1
  344 proteins from a peptide feature list
  Top 20 pure Lasso features, top 20 stable Lasso features, and top 20 Boruta protein lists (33 unique proteins)
  Combined them and removed duplicates -- 448 proteins
Proteins for Normalization, Alignment, etc…
  1000 most abundant proteins from our evaluation of our sample preparation strategy
Combined the top 1000 proteins and the 448 protein targets.
  Removed redundancies. 1341 total proteins
  There were 31 proteins from the target list not in the most recent mouse fasta annotations. About 20 were contaminants.
  1310 proteins … added back Yeast Enolase and Trypsin (1312 proteins)
Create a Fine-Tuned AI predicted library of spectra and RTs.
  Used an Astral datafile from a pool to perform the fine tuning.
  TRX_Phase2_Pelt-P01_Ast_Neo_REF-XP2P-001_008.raw
Created a fasta file of just the “important” proteins

## Slide 57: Database Search and Quantitation
Used DIA-NN v1.9.2 to search the AI generated library
diann --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate1-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate2-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate3-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate4-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate5-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate6-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate7-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate8-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate9-quant\ --dir E:\Users\maccoss\TRX-Phase2-Pelt-Astral\Plate10-quant\ --lib .\TRX-Phase2-Pelt-Plate4-diann_carafe_spec_lib.tsv --threads 36 --verbose 1 --out .\DIANN-Output\report.tsv --qvalue 0.01 --matrices --out-lib .\DIANN-Output\report-lib.parquet --gen-spec-lib --reannotate --fasta .\TRX-MousePelt-IR_Target+1000.fasta --min-pep-len 7 --max-pep-len 30 --min-pr-mz 400 --max-pr-mz 900 --min-pr-charge 2 --max-pr-charge 3 --cut K*,R* --missed-cleavages 1 --unimod4 --use-quant --conservative --individual-mass-acc --individual-windows --reanalyse --relaxed-prot-inf --rt-profiling --global-norm
Ran on a single server with a NUMA server (36 processors and 72 logical processors), 512 GB RAM, 14.5 TB SCSI SSD
Took 24.01 hours
Imported the DIA-NN results for each plate into Skyline-daily
Generated 10 skyline documents
Used lowess alignment and imputed the missing peak boundaries using a prototype build of Skyline
Created custom protein level reports

## Slide 58: Assessment of the Boundary Impute vs Abundance Impute
Notes: Imputing boundaries works better than imputing abundances.

## Slide 59: All T&E 2a Pelt Batches
PC1: 44.11% var PC1: 20.62% var PC1: 26.72 var

## Slide 60
Low vs Higher exposure in pelt 2a samples
0, 10, 25 vs 50, 75 cGy
FA1
FA2

## Slide 61: Pelt FA1 cross validated vs blinded dose predictions
How we predicted we would do
How we did on blinded samples
Notes: Our cross-validation strategy was very accurate in our ability to predict how well we would perform with T&E

## Slide 62: Pelt FA1 cross validated vs blinded exposure predictions
How we predicted we would do
How we did on blinded samples
Notes: Our cross validation strategy was very good at predicting how well we would do with blinded samples from T&E.

## Slide 63: Pelt FA1 cross validated vs blinded dose rate predictions
How we predicted we would do
How we did on blinded samples
Notes: We had no ability to predict dose rate.

## Slide 64: Pelt FA1 cross validated vs blinded time since exposure predictions
How we predicted we would do
How we did on blinded samples

## Slide 65: Phase 2a Recap
Tried to assess why did we did so bad?

## Slide 66: Unblinded data – Review Performance
First, how well do we do on spiked-in UW samples? Samples spiked into same plates as T&E samples using same block randomization scheme.
Classifying no exposure vs/ exposure
Quite well: block randomization across plates, bench work, mass spec, processing pipeline worked.
Notes: We did pretty well with our own samples prepared and run as controls within the experiment.
This means we did a good job at preparing the samples, collecting the data, handling normalization and batch correction.

## Slide 67: Unblinded data – Review Performance
Unblinded FA1 samples
This is a slightly easier test than the UW evaluation, here we are classifying low vs/ high exposure (<50 cGy vs/ >50 cGy).
Signal definitely present, though not especially strong.
Can we determine why?

## Slide 68: Examine performance differences by T&E batch
17
19
22
23
Notes: After unblinding we worked with T&E to see if there were additional confounders
Turns out we did better on some of their internal batches than others.

## Slide 69: Combining batches with batch 17
Batch 17+23
This is the only performance gain
Batch 17+19 Worse than 17 alone
Batch 17+22 Worse than 17 alone
Combining data should yield better results.

## Slide 70: What about time since exposure?
Note: only 12/72
samples are > 50 cGy
6 and 7 days post exp.
14 days post exp.
20 and 21 days post exp.
Notes: Most of our internal data was in the 6-7 days post exposure.
We always treated 25 days as FA2.

## Slide 71: Distribution of time since exposure by T&E batch
OK
Bad
OK
Bad

## Slide 72: Signal from top biomarkers fade after day 7

## Slide 73: Using Time Since Exposure Improves the Model

## Slide 74: Phase 2a: Take aways
Do very well with the shorter times since exposure within FA 1
Struggled with longer times since exposure within FA1
Batch 22 was harder because of a higher proportion of longer times since exposure
Batch 23 not sure what is happening. Makes predictions better when combined with 17. Not good by itself
Batch 19: There is an issue here, but don’t know what. Open to suggestions.

## Slide 75: Low dose Neutron Regression Study
Pelt analysis

## Slide 76: Low Dose Fast Neutron Experiment

## Slide 77: First Attempt at ElasticNet Model
After some parameter optimization

## Slide 78: Is there Signal at Low Doses?

## Slide 79: Dose Response for Individual Markers
Q61878 PRG2_MOUSE: Eosinophil granule major basic protein; predominant constituent of the crystalline core of the eosinophil granule; secreted protein involved in antiparasitic defense mechanisms;
P49290 PERE_MOUSE: Eosinophil peroxidase; mediates tyrosine nitration of eosinophil granule proteins; enzyme is released at sites of parasitic infection to mediate lysis of protozoa or parasite;
Q9D379 HYEP_MOUSE: Epoxide hydrolase; critical biotransformation enzyme that converts epoxides to diols which can be conjugated and excreted from the body;
Q07813 BAX_MOUSE: Promotes activation of CASP3, and thereby apoptosis; Accelerates programmed cell death by binding to and antagonizing the apoptosis repressor BCL2; involved in epidermal response to UV irradiation

## Slide 80: Dose Response for Individual Markers
P97425 ECP2_MOUSE: Eosinophil cationic protein 2; Eosinophil secondary granule ribonuclease 2; mediates tissue remodeling and cytotoxic activity
P97426 ECP1_MOUSE: Eosinophil cationic protein 1; Eosinophil secondary granule ribonuclease 1; mediates tissue remodeling and cytotoxic activity
Q923L6 Q923L6_MOUSE: Eosinophil associated ribonuclease 10; Eosinophil secondary granule ribonuclease 10; mediates tissue remodeling and cytotoxic activity; involved in innate immune response in mucosa
Q91X52 DCXR_MOUSE: Dicarbonyl and L-xylulose reductase; expression of DCXR in human skin (normal keratinocytes, melanocytes and endothelial cells) and increased in melanomas; cell adhesion function

## Slide 81: Continued Improvement and Refinement of the Dose Prediction
DirectLFQ
Median MAD
Totally Un-normalized
Signal Normalization is an Important Parameter to Optimize

## Slide 82: Confusion Matrix Based on Binned Dose Predictions
DirectLFQ
Median MAD

## Slide 83: Low dose X-ray regression study
Pelt analysis

## Slide 84: Low Dose X-ray Regression Experiment
Upper
Lower
Pelt samples collected at Day 6
**Plasma being analyzed as dosimetry proxy

## Slide 85: Low Dose X-ray Dose Prediction

## Slide 86: Low Dose X-ray Dose Prediction

## Slide 87: Low dose neutron and X-ray Plasma EVs (control for radiation phenotype)

## Slide 88: Low Dose Neutron (+/- exposure)
0 vs 75 cGy
0 vs 2 Gy
2 Gy vs 75 cGy

## Slide 89: Low Dose Neutron Regression Dose Prediction

## Slide 90: IR Typing (Neutron vs Xray) Using Plasma EVs
>75 cGy No Feature Selection
>75 cGy w/ Feature Selection
>32.5 cGy w/ Feature Selection

## Slide 91: Low dose Human Skin Disc

## Slide 92: Phase 2 Skin Disc Collection
Human skin discs collected from SBRT lung cancer patients in areas receiving <75 cGy as well as 2 other locations
3 sets of discs taken from chest/abdominal skin surface (CT origin, 5 cm superior, 5 cm inferior)
Rigid ruler used for consistent spacing from CT origin to enable consistency of sample location between time points and for Ray Station determination of dose
Raystation image

## Slide 93: TBI Human Disc Analysis (+/- Exposure)
Compare late vs early days TBI
1-8 days
>42 days
Transition to Peptide Rollup: Sum
Peptide to Protein Rollup: Sum Normalization: RT Lowess
1-8 days
>42 days
Transition to Peptide Rollup: Library Assist
Peptide to Protein Rollup: Median Polish Normalization: RT Lowess

## Slide 94: SBRT Separation by Dose
≥100 cGy
≥200 cGy
≥ 400 cGy
Transition to Peptide Rollup: Library Assist
Peptide to Protein Rollup: Median Polish Normalization: RT Lowess

## Slide 95: SBRT Separation of Early versus Late Sampling
≥100 cGy, Day < 65
≥100 cGy, Day > 65
Transition to Peptide Rollup: Library Assist
Peptide to Protein Rollup: Median Polish Normalization: RT Lowess

## Slide 96: Lessons Learned
For low dose (and low signal experiments in general), essential to first focus on feature detection experiments.
  Use higher doses and as few variables as possible (phase 1a and 1b)
    E.g., all the same sex, strain, etc
    Give statistical power to feature selection
  Low dose classifiers and regression is not possible without this
  Can refine better classifiers downstream with less data if we know the protein features
  Future experiments in mouse and human skin disc should focus on feature detection phases first.
  Lots to be gained by improved signal processing. Need more effort.

## Slide 97
Additional Funding from DOE
Custom Xstrahl X150 small animal radiation platform
Delivers X-rays at 6 mGy/hr to free-roaming mice
  160 kVp, 3.2 mA, and filtered with 8 mm Cu
  5/5/25-5/9/25-Installation
3 orthogonal methods of dosimetry (NIST-traceable) used to characterize the beam and map the field
  Calibrated Fluke survey meter
  TLD100 in TBI 25g mouse phantoms
  Exradin A5 ionization chamber
Colosseum Experiment 1 complete
  60 C57LB/6 (females, 14 weeks)
  45 irradiated (100 mGy over 22 hours), 15 sham irradiated in shielded enclosure
  Endpoints (1, 2, 6 days post-IR)
  Tissues (plasma EVs, thymus, spleen) processed and analyzed by DIA LC-MS/MS (Orbtrap Astral Zoom)
  Signal detected in plasma EVs